{"text_format":"1","workbook":"xlsx","n_sheets":20,"sheets":["00はじめに","流出係数算出","降雨強度","流入量定義","01流出計算（Q-Tグラフ）","浸透施設能力","浸透施設能力（貯留浸透モデル_道路管理者用）","比浸透量","02流出計算（QT-Sグラフ）","03-①調整池容量の概算","04-①調節計算（自然調節方式）","04-②調節計算（2段）","04-③調節計算（ポンプ）","１．行為区域の概要","２．使用降雨強度及びピーク流入量","３．流出抑制施設諸元 （一定量）","３．流出抑制施設諸元 （浸透施設）","３．流出抑制施設諸元（調整池諸元）","３．流出抑制施設諸元（調整池諸元_ポンプ排水）","３．流出抑制施設諸元 （調節計算結果）"],"not_rendered":{"charts":6,"images":6,"macros":1,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"00はじめに","index":0,"n_rows":1,"n_cols":1,"rows_kept":1,"cut":false,"hidden":false,"merged":[]}
["※計算フローは以下の通りです。"]

{"sheet":"流出係数算出","index":1,"n_rows":32,"n_cols":10,"rows_kept":32,"cut":false,"hidden":false,"merged":[[7,1,7,4],[27,1,31,3],[1,4,2,5],[24,2,26,3],[19,1,26,1],[4,1,4,7],[19,2,20,3],[6,1,6,3],[21,2,23,3],[8,1,18,1],[8,2,18,3]]}
[null,null,null,null,null,null,null,null,"行為前Σan","行為後Σan"]
[null,null,null,null,"流出係数算定結果",null,"行為前","行為後",{"$f":"SUM($G$9:$G$96)","v":0},{"$f":"SUM($H$9:$H$96)","v":0}]
[null,null,null,null,null,null,{"$f":"$I$4/$I$2","v":{"$error":"#DIV/0!"}},{"$f":"$J$4/$J$2","v":{"$error":"#DIV/0!"}},"行為前Σ(fn*an)","行為後Σ(fn*an)"]
[null,null,null,null,null,null,null,null,{"$f":"SUM($I$9:$I$96)","v":0},{"$f":"SUM($J$9:$J$96)","v":0}]
[null,"雨水浸透阻害行為の技術基準として設定する流出係数"]
[]
[null,"区分",null,null,"土地利用の形態の細区分","流出係数","行為前面積\n（ha）","行為後面積\n（ha）"]
[null,"計",null,null,null,"－",{"$f":"SUM(G9:G32)","v":0},{"$f":"SUM(H9:H32)","v":0}]
[null,"宅地等に該当する土地","第１号関連",null,"宅地",0.9,null,null,{"$f":"$F9*$G9","v":0},{"$f":"$F9*$H9","v":0}]
[null,null,null,null,"池沼",1,null,null,{"$f":"$F10*$G10","v":0},{"$f":"$F10*$H10","v":0}]
[null,null,null,null,"水路",1,null,null,0,0]
[null,null,null,null,"ため池",1,null,null,0,0]
[null,null,null,null,"道路(法面を有しないもの）",0.9,null,null,0,0]
[null,null,null,null,"道路（法面を有するもの）",null,null,null,0,0]
[null,null,null,null,"鉄道線路（法面を有しないもの）",0.9,null,null,0,0]
[null,null,null,null,"鉄道線路（法面を有するもの）",null,null,null,0,0]
[null,null,null,null,"飛行場（法面を有しないもの）",0.9,null,null,0,0]
[null,null,null,null,"飛行場（法面を有するもの）",null,null,null,0,0]
[null,null,null,null,"太陽光パネル",0.9,null,null,0,0]
[null,"宅地等以外の土地","第２号\n関　連",null,"不浸透性材料により舗装された土地（法面を除く）",0.95,null,null,0,0]
[null,null,null,null,"不浸透性材料により覆われた法面",1,null,null,0,0]
[null,null,"第３号\n関　連",null,"ゴルフ場（雨水を排除するための排水施設を伴うものに限る）",0.5,null,null,0,0]
[null,null,null,null,"運動場その他これに類する施設（雨水を排除するための排水施設を伴うものに限る）",0.8,null,null,0,0]
[null,null,null,null,"ローラーその他これに類する建設機械を用いて締め固められた土地",0.5,null,null,0,{"$f":"$F24*$H24","v":0}]
[null,null,"上記第１号から第３号に掲げる土地以外の土地",null,"山地",0.3,null,null,0,0]
[null,null,null,null,"人工的に造成され植生に覆われた法面",0.4,null,null,0,0]
[null,null,null,null,"林地、耕地、原野その他ローラーその他これに類する建設機械を用いて締め固められていない土地",0.2,null,null,{"$f":"$F27*$G27","v":0},0]
[null,"そ\n\n\nの\n\n\n他",null,null,null,null,null,null,0,0]
[null,null,null,null,null,null,null,null,0,0]
[null,null,null,null,null,null,null,null,0,0]
[null,null,null,null,null,null,null,null,0,0]
[null,null,null,null,null,null,null,null,0,0]

{"sheet":"降雨強度","index":2,"n_rows":38,"n_cols":15,"rows_kept":38,"cut":false,"hidden":false,"merged":[[2,13,2,17]]}
["※降雨は対象地域の降雨に変更して下さい"]
["時","分","降雨量\n（mm/h）","時","分","降雨量\n（mm/h）","時","分","降雨量\n（mm/h）","時","分","降雨量\n（mm/h）"]
[0,"0－10",2.6571088114558279,6,"0－10",4.2996580608257773,12,"0－10",61.113931349135356,18,"0－10",4.1783214589777344,null,"降雨強度式"]
[null,"10－20",2.682809146598629,null,"10－20",4.3855464339418404,null,"10－20",34.734580784895286,null,"10－20",4.1020074619550542]
[null,"20－30",2.7091362049013696,null,"20－30",4.4758108763600148,null,"20－30",25.428578741685385,null,"20－30",4.0290553219085723,null,4]
[null,"30－40",2.7361147239716956,null,"30－40",4.5708173816822182,null,"30－40",20.480901689237896,null,"30－40",3.9592351717388965]
[null,"40－50",2.7637708013398878,null,"40－50",4.6709752383562773,null,"40－50",17.355434446861864,null,"40－50",3.8923381592991291,null,null,"タルボット式　I = a / ( t + b)"]
[null,"50－60",2.7921319909132762,null,"50－60",4.7767437473322616,null,"50－60",15.178801786247448,null,"50－60",3.8281740660351034,null,null,"シャーマン式 I = a / tn"]
[1,"0－10",2.8212274078468909,7,"0－10",4.8886402461747593,13,"0－10",13.56413254947006,19,"0－10",3.7665692451032555,null,null,"久野・石黒  I = a / (t0.5 + b)"]
[null,"10－20",2.8510878427248372,null,"10－20",5.0072497486377188,null,"10－20",12.312033506751789,null,"10－20",3.7073648297583759,null,null,"クリーブランド　I = a / (tn + b)"]
[null,"20－30",2.8817458860244187,null,"20－30",5.1332365957294996,null,"20－30",11.308638672425388,null,"20－30",3.6504151713138526,null,null,"久野・石黒変形　任意のn"]
[null,"30－40",2.9132360639787294,null,"30－40",5.2673586300304578,null,"30－40",10.483894528560313,null,"30－40",3.595586472869968]
[null,"40－50",2.9455949870796303,null,"40－50",5.4104845604654201,null,"40－50",9.7921861071507692,null,"40－50",3.5427555905961299]
[null,"50－60",2.9788615126279865,null,"50－60",5.5636153956628505,null,"50－60",9.2024526083722549,null,"50－60",3.4918089789258602,null,null,"降雨強度式"]
[2,"0－10",3.0130769229208454,8,"0－10",5.727911113495793,14,"0－10",8.6927637040737409,20,"0－10",3.4426417597854879,null,null,"a"]
[null,"10－20",3.0482851208683996,null,"10－20",5.9047241363937246,null,"10－20",8.247165069200264,null,"10－20",3.3951568990547685,null,null,"b"]
[null,"20－30",3.0845328450886882,null,"20－30",6.0956417476061233,null,"20－30",7.8537540601425917,null,"20－30",3.3492644760366375,null,null,"n"]
[null,"30－40",3.1218699067911757,null,"30－40",6.3025403905878647,null,"30－40",7.5034580849458052,null,"30－40",3.3048810338252679]
[null,"40－50",3.1603494510949304,null,"40－50",6.5276559627644701,null,"40－50",7.1892323863329466,null,"40－50",3.2619290002472781,null,1]
[null,"50－60",3.2000282457973981,null,"50－60",6.7736759370328627,null,"50－60",6.9055176979519501,null,"50－60",3.2203361705344378]
[3,"0－10",3.2409670010467835,9,"0－10",7.0438617275938213,15,"0－10",6.6478642011179545,21,"0－10",3.1800352441348423]
[null,"10－20",3.2832307238783187,null,"10－20",7.3422136701528871,null,"10－20",6.4126649385195833,null,"10－20",3.1409634091231737]
[null,"20－30",3.3268891121701927,null,"20－30",7.6736971723508987,null,"20－30",6.1969630769960986,null,"20－30",3.1030619685651573]
[null,"30－40",3.37201699327602,null,"30－40",8.0445585102768291,null,"30－40",5.9983101015599232,null,"30－40",3.0662760039436989]
[null,"40－50",3.418694813402567,null,"40－50",8.4627750993577138,null,"40－50",5.8146598309070896,null,"40－50",3.0305540713994787]
[null,"50－60",3.4670091847813183,null,"50－60",8.9387128732777228,null,"50－60",5.6442880755128044,null,"50－60",2.9958479270904945]
[4,"0－10",3.5170534988221789,10,"0－10",9.4861123801089207,16,"0－10",5.4857309467483901,22,"0－10",2.9621122784431009]
[null,"10－20",3.5689286147998018,null,"10－20",10.123615026188304,null,"10－20",5.3377369296027837,null,"10－20",2.9293045584718129]
[null,"20－30",3.622743635250913,null,"20－30",10.877213532212807,null,"20－30",5.1992292474159285,null,"20－30",2.8973847206962091]
[null,"30－40",3.6786167812023223,null,"30－40",11.78436123521692,null,"30－40",5.0692760164184847,null,"30－40",2.8663150524766934]
[null,"40－50",3.736676382680912,null,"40－50",12.901235108500771,null,"40－50",4.9470663622198572,null,"40－50",2.836060004856563]
[null,"50－60",3.7970620027707582,null,"50－60",14.316433294928402,null,"50－60",4.8318911464275516,null,"50－60",2.8065860372221323]
[5,"0－10",3.8599257168895065,11,"0－10",16.179024245052176,17,"0－10",4.7231272921569598,23,"0－10",2.7778614752860449]
[null,"10－20",3.9254335730947787,null,"10－20",18.762560682599712,null,"10－20",4.6202249439380694,null,"10－20",2.7498563810690939]
[null,"20－30",3.9937672642862481,null,"20－30",22.634899259824692,null,"20－30",4.522696878350871,null,"20－30",2.72254243370935]
[null,"30－40",4.0651260493781365,null,"30－40",29.223561297490221,null,"30－40",4.4301097156752576,null,"30－40",2.6958928200517676]
[null,"40－50",4.1397289681613074,null,"40－50",43.628422906070625,null,"40－50",4.3420765830885557,null,"40－50",2.6698821340876293]
[null,"50－60",4.217817404063112,null,"50－60",127.00200130357982,null,"50－60",4.2582509556459627,null,"50－60",2.644486284420509]

{"sheet":"流入量定義","index":3,"n_rows":147,"n_cols":2,"rows_kept":147,"cut":false,"hidden":false,"merged":[]}
["※流出計算を実行する場合、記入する必要はありません。"]
["時刻","行為後流入量"]
["00:00:00"]
["00:10:00"]
["00:20:00"]
["00:30:00"]
["00:40:00"]
["00:50:00"]
["01:00:00"]
["01:10:00"]
["01:20:00"]
["01:30:00"]
["01:40:00"]
["01:50:00"]
["02:00:00"]
["02:10:00"]
["02:20:00"]
["02:30:00"]
["02:40:00"]
["02:50:00"]
["03:00:00"]
["03:10:00"]
["03:20:00"]
["03:30:00"]
["03:40:00"]
["03:50:00"]
["04:00:00"]
["04:10:00"]
["04:20:00"]
["04:30:00"]
["04:40:00"]
["04:50:00"]
["05:00:00"]
["05:10:00"]
["05:20:00"]
["05:30:00"]
["05:40:00"]
["05:50:00"]
["06:00:00"]
["06:10:00"]
["06:20:00"]
["06:30:00"]
["06:40:00"]
["06:50:00"]
["07:00:00"]
["07:10:00"]
["07:20:00"]
["07:30:00"]
["07:40:00"]
["07:50:00"]
["08:00:00"]
["08:10:00"]
["08:20:00"]
["08:30:00"]
["08:40:00"]
["08:50:00"]
["09:00:00"]
["09:10:00"]
["09:20:00"]
["09:30:00"]
["09:40:00"]
["09:50:00"]
["10:00:00"]
["10:10:00"]
["10:20:00"]
["10:30:00"]
["10:40:00"]
["10:50:00"]
["11:00:00"]
["11:10:00"]
["11:20:00"]
["11:30:00"]
["11:40:00"]
["11:50:00"]
["12:00:00"]
["12:10:00"]
["12:20:00"]
["12:30:00"]
["12:40:00"]
["12:50:00"]
["13:00:00"]
["13:10:00"]
["13:20:00"]
["13:30:00"]
["13:40:00"]
["13:50:00"]
["14:00:00"]
["14:10:00"]
["14:20:00"]
["14:30:00"]
["14:40:00"]
["14:50:00"]
["15:00:00"]
["15:10:00"]
["15:20:00"]
["15:30:00"]
["15:40:00"]
["15:50:00"]
["16:00:00"]
["16:10:00"]
["16:20:00"]
["16:30:00"]
["16:40:00"]
["16:50:00"]
["17:00:00"]
["17:10:00"]
["17:20:00"]
["17:30:00"]
["17:40:00"]
["17:50:00"]
["18:00:00"]
["18:10:00"]
["18:20:00"]
["18:30:00"]
["18:40:00"]
["18:50:00"]
["19:00:00"]
["19:10:00"]
["19:20:00"]
["19:30:00"]
["19:40:00"]
["19:50:00"]
["20:00:00"]
["20:10:00"]
["20:20:00"]
["20:30:00"]
["20:40:00"]
["20:50:00"]
["21:00:00"]
["21:10:00"]
["21:20:00"]
["21:30:00"]
["21:40:00"]
["21:50:00"]
["22:00:00"]
["22:10:00"]
["22:20:00"]
["22:30:00"]
["22:40:00"]
["22:50:00"]
["23:00:00"]
["23:10:00"]
["23:20:00"]
["23:30:00"]
["23:40:00"]
["23:50:00"]
["24:00"]

{"sheet":"01流出計算（Q-Tグラフ）","index":4,"n_rows":27,"n_cols":11,"rows_kept":27,"cut":false,"hidden":false,"merged":[[1,1,1,5],[1,7,1,24],[22,2,24,4],[9,2,12,4],[17,2,18,5]]}
[]
[null,"流 出 計 算 条 件",null,null,null,null,null,"流 出 計 算 結 果"]
[]
[null,null,null,null,null,null,null,"時刻","行為前流入量","行為後流入量","降雨強度"]
[null,1,"流出計算の実行"]
[]
[null,null,"行為面積",{"$f":"5699.32/10000","v":0.56993199999999999},"ha"]
[]
[null,null,"降雨量"]
[null,null,"※「降雨強度」シートに基準降雨を入力してください。（都道府県知事等により公示されている「基準降雨」の値に変更してください。）"]
[]
[]
[]
[]
[null,null,"流出係数"]
[null,null,"行為前"]
[null,null,"行為後"]
[null,null,"※「流出係数算出」シートで算出した諸元が入力されていますが、必要に応じて申請図書記載値に上書きすることができます。"]
[]
[]
[null,null,"流出計算結果の指定"]
[]
[null,null,"※「流入量定義」シートに計算された流出計算結果（行為後）を入力してください。"]
[]
[]
[]
[null,null,"許容放流量",null,"m3/s"]

{"sheet":"浸透施設能力","index":5,"n_rows":62,"n_cols":24,"rows_kept":62,"cut":false,"hidden":false,"merged":[[35,16,37,16],[36,3,37,4],[36,5,37,5],[49,2,49,5],[49,6,51,6],[49,7,49,9],[49,15,51,15],[49,16,51,16],[50,3,51,4],[50,5,51,5],[35,7,35,9],[49,14,51,14],[35,14,37,14],[35,15,37,15],[35,6,37,6],[21,16,21,17],[22,3,23,4],[22,5,23,5],[22,16,23,16],[22,17,23,17],[21,7,21,9],[22,15,23,15],[21,14,23,14],[3,2,3,5],[3,15,3,16],[7,2,7,5],[7,6,9,6],[7,7,7,9],[7,14,9,14],[7,16,7,17],[8,3,9,4],[8,5,9,5],[8,16,9,16],[8,17,9,17],[8,15,9,15],[1,1,1,8],[1,14,1,19],[2,2,2,5],[2,8,2,9],[2,15,2,16],[2,19,2,20],[7,1,9,1],[8,2,9,2],[21,1,23,1],[21,2,21,5],[21,6,23,6],[49,1,51,1],[50,2,51,2],[35,1,37,1],[22,2,23,2],[36,2,37,2],[35,2,35,5]]}
[]
[null,"浸透施設能力算定結果",null,null,null,null,null,null,null,null,null,null,null,null,"空隙貯留量算定結果"]
[null,"浸透マス","浸透トレンチ",null,null,null,"透水性舗装","その他","浸透施設能力算定結果",null,null,null,null,null,"浸透マス","浸透トレンチ",null,"透水性舗装","その他","空隙貯留量算定結果"]
[null,{"$f":"SUM(K11:L20)","v":0},{"$f":"SUM(L25:L34)","v":0},null,null,null,{"$f":"SUM(L39:L48)","v":0},{"$f":"SUM(L53:L62)","v":0},{"$f":"B4+C4+G4+H4","v":0},"ｍ3/ｈｒ",null,null,null,null,{"$f":"SUM(M11:M20)","v":0},{"$f":"SUM(M25:M34)","v":0},null,{"$f":"SUM(M39:M48)/100","v":0},{"$f":"SUM(M53:M62)/100","v":0},{"$f":"O4+P4+R4+S4","v":0},"ｍ3"]
[null,null,null,null,null,null,null,null,{"$f":"I4/3600","v":0},"ｍ3/s"]
[null,null,null,null,null,null,null,"（開発エリア全体に対する全浸透施設の浸透強度:",{"$f":"I5/流出係数算出!G8*3600/10","v":{"$error":"#DIV/0!"}},"mm/hr)"]
[null,"条件設定",null,null,null,null,null,null,null,null,null,null,null,null,"条件設定"]
[null,"【浸透マス】","単位設計浸透能（ｍ3/ｈｒ/個）",null,null,null,"設置数量\n（個）","影響係数",null,null,null,null,null,null,"【浸透マス】\n1個あたり","ます部","砕石部"]
[null,null,"比浸透量（㎡）","飽和透水係数",null,"飽和透水係数\n（m/hr）",null,"（1）","（2）","（3）",null,null,null,null,null,"体積\n（ｍ3）","体積\n（ｍ3）","空隙率\n（％）"]
[null,null,null,null,null,null,null,"内容（１）","内容（２）","内容（３）",null,null,null,null,null,null,null,null,null,null,null,null,null,"単位リスト"]
[null,1,null,null,null,{"$f":"IF(E11=$X$11,0,IF(E11=$X$14,D11,IF(E11=$X$13,D11*3600,D11*3600/100)))","v":0},null,0.9,0.9,0.8,null,{"$f":"$C11*$F11*$G11*$H11*$I11*$J11","v":0},{"$f":"($P11+$Q11*$R11/100)*$G11","v":0},null,1]
[null,2,null,null,null,{"$f":"IF(E12=$X$11,0,IF(E12=$X$14,D12,IF(E12=$X$13,D12*3600,D12*3600/100)))","v":0},null,0.9,0.9,1,null,{"$f":"$C12*$F12*$G12*$H12*$I12*$J12","v":0},{"$f":"($P12+$Q12*$R12/100)*$G12","v":0},null,2,null,null,null,null,null,null,null,null,"cm/s"]
[null,3,null,null,null,{"$f":"IF(E13=$X$11,0,IF(E13=$X$14,D13,IF(E13=$X$13,D13*3600,D13*3600/100)))","v":0},null,0.9,0.9,1,null,{"$f":"$C13*$F13*$G13*$H13*$I13*$J13","v":0},{"$f":"($P13+$Q13*$R13/100)*$G13","v":0},null,3,null,null,null,null,null,null,null,null,"m/s"]
[null,4,null,null,null,0,null,0.9,0.9,1,null,0,{"$f":"($P14+$Q14*$R14/100)*$G14","v":0},null,4,null,null,null,null,null,null,null,null,"m/hr"]
[null,5,null,null,null,0,null,0.9,0.9,1,null,0,{"$f":"($P15+$Q15*$R15/100)*$G15","v":0},null,5]
[null,6,null,null,null,0,null,0.9,0.9,1,null,0,0,null,6]
[null,7,null,null,null,0,null,0.9,0.9,1,null,0,0,null,7]
[null,8,null,null,null,0,null,0.9,0.9,1,null,0,0,null,8]
[null,9,null,null,null,0,null,0.9,0.9,1,null,0,0,null,9]
[null,10,null,null,null,0,null,0.9,0.9,1,null,0,0,null,10]
[]
[null,"【浸透トレンチ】","単位設計浸透能（ｍ3/ｈｒ/m）",null,null,null,"設置数量\n（ｍ）","影響係数",null,null,null,null,null,null,"【浸透トレンチ】\n1mあたり","浸透管部","砕石部"]
[null,null,"比浸透量（㎡）","飽和透水係数",null,"飽和透水係数\n（m/hr）",null,"（1）","（2）","（3）",null,null,null,null,null,"体積\n（ｍ3）","体積\n（ｍ3）","空隙率\n（％）"]
[null,null,null,null,null,null,null,"内容（１）","内容（２）","内容（３）"]
[null,1,null,null,null,{"$f":"IF(E25=$X$11,0,IF(E25=$X$14,D25,IF(E25=$X$13,D25*3600,D25*3600/100)))","v":0},null,0.9,0.9,1,null,{"$f":"$C25*$F25*$G25*$H25*$I25*$J25","v":0},{"$f":"($P25+$Q25*$R25/100)*$G25","v":0},null,1]
[null,2,null,null,null,{"$f":"IF(E26=$X$11,0,IF(E26=$X$14,D26,IF(E26=$X$13,D26*3600,D26*3600/100)))","v":0},null,0.9,0.9,1,null,{"$f":"$C26*$F26*$G26*$H26*$I26*$J26","v":0},{"$f":"($P26+$Q26*$R26/100)*$G26","v":0},null,2]
[null,3,null,null,null,{"$f":"IF(E27=$X$11,0,IF(E27=$X$14,D27,IF(E27=$X$13,D27*3600,D27*3600/100)))","v":0},null,0.9,0.9,1,null,0,0,null,3]
[null,4,null,null,null,0,null,0.9,0.9,1,null,0,0,null,4]
[null,5,null,null,null,0,null,0.9,0.9,1,null,0,0,null,5]
[null,6,null,null,null,0,null,0.9,0.9,1,null,0,0,null,6]
[null,7,null,null,null,0,null,0.9,0.9,1,null,0,0,null,7]
[null,8,null,null,null,0,null,0.9,0.9,1,null,0,0,null,8]
[null,9,null,null,null,0,null,0.9,0.9,1,null,0,0,null,9]
[null,10,null,null,null,0,null,0.9,0.9,1,null,0,0,null,10]
[]
[null,"【透水性舗装】","単位設計浸透能（ｍ3/ｈｒ/㎡）",null,null,null,"設置数量\n（㎡）","影響係数",null,null,null,null,null,null,"【透水性舗装】\n1m2あたり","体積\n（ｍ3）","空隙率\n（％）"]
[null,null,"比浸透量（㎡）","飽和透水係数",null,"飽和透水係数\n（m/hr）",null,"（1）","（2）","（3）"]
[null,null,null,null,null,null,null,"内容（１）","内容（２）","内容（３）"]
[null,1,null,null,null,{"$f":"IF(E39=$X$11,0,IF(E39=$X$14,D39,IF(E39=$X$13,D39*3600,D39*3600/100)))","v":0},null,0.9,0.9,0.1,null,{"$f":"$C39*$F39*$G39*$H39*$I39*$J39","v":0},{"$f":"$G39*($P39*Q39)","v":0},null,1]
[null,2,null,null,null,{"$f":"IF(E40=$X$11,0,IF(E40=$X$14,D40,IF(E40=$X$13,D40*3600,D40*3600/100)))","v":0},null,0.9,0.9,1,null,{"$f":"$C40*$F40*$G40*$H40*$I40*$J40","v":0},{"$f":"$G40*($P40*Q40)","v":0},null,2]
[null,3,null,null,null,{"$f":"IF(E41=$X$11,0,IF(E41=$X$14,D41,IF(E41=$X$13,D41*3600,D41*3600/100)))","v":0},null,0.9,0.9,1,null,0,{"$f":"$G41*($P41*Q41)","v":0},null,3]
[null,4,null,null,null,0,null,0.9,0.9,1,null,0,{"$f":"$G42*($P42*Q42)","v":0},null,4]
[null,5,null,null,null,0,null,0.9,0.9,1,null,0,{"$f":"$G43*($P43*Q43)","v":0},null,5]
[null,6,null,null,null,0,null,0.9,0.9,1,null,0,{"$f":"$G44*($P44*Q44)","v":0},null,6]
[null,7,null,null,null,0,null,0.9,0.9,1,null,0,{"$f":"$G45*($P45*Q45)","v":0},null,7]
[null,8,null,null,null,0,null,0.9,0.9,1,null,0,{"$f":"$G46*($P46*Q46)","v":0},null,8]
[null,9,null,null,null,0,null,0.9,0.9,1,null,0,{"$f":"$G47*($P47*Q47)","v":0},null,9]
[null,10,null,null,null,0,null,0.9,0.9,1,null,0,{"$f":"$G48*($P48*Q48)","v":0},null,10]
[]
[null,"【その他】","単位設計浸透能（ｍ3/ｈｒ/単位）",null,null,null,"設置数量\n（単位）","影響係数",null,null,null,null,null,null,"【その他】\n1単位あたり","体積\n（ｍ3）","空隙率\n（％）"]
[null,null,"比浸透量（㎡）","飽和透水係数",null,"飽和透水係数\n（m/hr）",null,"（1）","（2）","（3）"]
[null,null,null,null,null,null,null,"内容（１）","内容（２）","内容（３）"]
[null,1,null,null,null,{"$f":"IF(E53=$X$11,0,IF(E53=$X$14,D53,IF(E53=$X$13,D53*3600,D53*3600/100)))","v":0},null,0.9,0.9,null,null,{"$f":"$C53*$F53*$G53*$H53*$I53*$J53","v":0},{"$f":"$G53*($P53*Q53)","v":0},null,1]
[null,2,null,null,null,{"$f":"IF(E54=$X$11,0,IF(E54=$X$14,D54,IF(E54=$X$13,D54*3600,D54*3600/100)))","v":0},null,0.9,0.9,null,null,0,0,null,2]
[null,3,null,null,null,{"$f":"IF(E55=$X$11,0,IF(E55=$X$14,D55,IF(E55=$X$13,D55*3600,D55*3600/100)))","v":0},null,0.9,0.9,null,null,0,0,null,3]
[null,4,null,null,null,0,null,0.9,0.9,null,null,0,0,null,4]
[null,5,null,null,null,0,null,0.9,0.9,null,null,0,0,null,5]
[null,6,null,null,null,0,null,0.9,0.9,null,null,0,0,null,6]
[null,7,null,null,null,0,null,0.9,0.9,null,null,0,0,null,7]
[null,8,null,null,null,0,null,0.9,0.9,null,null,0,0,null,8]
[null,9,null,null,null,0,null,0.9,0.9,null,null,0,0,null,9]
[null,10,null,null,null,0,null,0.9,0.9,null,null,0,0,null,10]

{"sheet":"浸透施設能力（貯留浸透モデル_道路管理者用）","index":6,"n_rows":58,"n_cols":25,"rows_kept":58,"cut":false,"hidden":false,"merged":[[37,14,37,15],[38,13,39,13],[38,14,39,14],[38,15,39,15],[6,1,7,1],[6,8,6,9],[7,8,7,9],[15,1,15,2],[15,10,15,11],[8,1,9,1],[8,8,8,9],[9,8,9,9],[10,1,10,8],[11,1,11,3],[12,1,12,2],[12,10,12,11],[13,1,13,2],[1,9,1,10],[4,1,4,2],[5,1,5,2],[5,8,5,9],[2,0,2,8],[13,10,13,11],[14,1,14,2],[14,10,14,11],[16,1,16,2],[16,10,16,11],[17,1,17,2],[17,10,17,11],[18,1,18,2],[18,10,18,11],[27,1,27,2],[28,1,28,2],[21,1,21,8],[23,1,25,2],[23,7,25,7],[23,8,25,8],[26,1,26,2],[23,3,23,6],[24,4,25,5],[24,6,25,6],[23,20,25,20],[24,3,25,3],[24,9,25,9],[24,10,25,10],[23,18,25,18],[23,19,25,19],[23,12,25,12],[23,17,25,17],[23,9,23,10],[23,14,23,15],[24,13,25,13],[24,14,25,14],[24,15,25,15],[29,1,29,2],[30,1,30,2],[31,1,31,2],[38,3,39,3],[32,1,32,2],[33,1,33,2],[34,1,34,2],[35,1,35,2],[37,1,39,2],[37,3,37,6],[38,4,39,5],[38,6,39,6],[37,12,39,12],[52,8,52,9],[40,1,40,2],[41,1,41,2],[42,1,42,2],[43,1,43,2],[44,1,44,2],[45,1,45,2],[38,9,39,9],[38,10,39,10],[37,7,39,7],[37,8,39,8],[37,9,37,10],[53,1,53,2],[54,1,54,2],[46,1,46,2],[47,1,47,2],[48,1,48,2],[49,1,49,2],[52,1,52,2]]}
[]
["透水性舗装",null,null,null,null,null,null,null,null,"部分を入力して下さい"]
["【「道路路面雨水処理マニュアル(案)」に対応した計算シート】"]
[null,"基本諸元"]
[null,"設置数量(舗装面積) (m2)"]
[null,"飽和透水係数 （m/hr）",null,null,null,null,null,null,"上層路盤での貯留率(%)",null,{"$f":"M17","v":0}]
[null,"比浸透量算定\n定数　K=aH+b","a",null,null,null,null,null,"下層路盤での貯留率(%)",null,{"$f":"M18","v":0}]
[null,null,"b",null,null,null,null,null,"下層路盤厚(mm)",null,{"$f":"D18","v":0}]
[null,"目詰まり\n係数","C1",null,null,null,null,null,"下層路盤での貯留量(mm)",null,{"$f":"N18","v":0}]
[null,null,"C2",null,null,null,null,null,"貯留量の合計(mm)",null,{"$f":"N19","v":0}]
[]
[null,"貯留率と水拘束率"]
[null,null,null,"厚さ(mm)","空気間隙率\n(%)","空気間隙率との関係",null,"水拘束率\n(%)","水拘束量\n(mm)","貯留率\n(%)","貯留量\n(mm)",null,"STEP2での\n貯留率\n(%)","STEP2での\n貯留量\n(mm)"]
[null,"関係式",null,"a","b","b'",null,"c","a×c/100","d (=b+b')","a×d/100",null,"d-c","a×(d-c)/100"]
[null,"表層",null,null,null,null,null,null,{"$f":"D15*H15/100","v":0},{"$f":"E15+F15","v":0},{"$f":"D15*J15/100","v":0},null,{"$f":"J15-H15","v":0},{"$f":"D15*(J15-H15)/100","v":0}]
[null,"中間層・基層",null,null,null,null,null,null,{"$f":"D16*H16/100","v":0},{"$f":"E16+F16","v":0},{"$f":"D16*J16/100","v":0},null,{"$f":"J16-H16","v":0},{"$f":"D16*(J16-H16)/100","v":0}]
[null,"上層路盤",null,null,null,null,null,null,{"$f":"D17*H17/100","v":0},{"$f":"E17+F17","v":0},{"$f":"D17*J17/100","v":0},null,{"$f":"J17-H17","v":0},{"$f":"D17*(J17-H17)/100","v":0}]
[null,"下層路盤",null,null,null,null,null,null,{"$f":"D18*H18/100","v":0},{"$f":"E18+F18","v":0},{"$f":"D18*J18/100","v":0},null,{"$f":"J18-H18","v":0},{"$f":"D18*(J18-H18)/100","v":0}]
[null,"合計",null,{"$f":"SUM(D15:D18)","v":0},"-","-",null,"-",{"$f":"SUM(I15:I18)","v":0},"-",{"$f":"SUM(K15:K18)","v":0},null,"-",{"$f":"SUM(N15:N18)","v":0}]
[]
["浸透マス・トレンチ"]
[]
[null,"浸透能諸元",null,null,null,null,null,null,null,null,null,null,"空隙貯留諸元"]
[null,"【浸透マス】",null,"単位設計浸透能（ｍ3/ｈｒ/個）",null,null,null,"設置数量\n（個）","設計水頭\n(m)","影響係数",null,null,"【浸透マス】\n1個あたり","ます部","砕石部",null,null,"Σ","設計浸透量","平均設計水頭","設計空隙貯留量"]
[null,null,null,"比浸透量（㎡）","飽和透水係数",null,"飽和透水係数\n（m/hr）",null,null,"地下水位\n係数","目詰まり\n係数",null,null,"体積\n（ｍ3）","体積\n（ｍ3）","空隙率\n（％）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"小計",null,null,null,null,null,null,null,"単位リスト"]
[null,1,null,null,null,"m/hr",0.122,null,null,1,1,null,1,null,null,null,null,{"$f":"D27*G27*H27*I27*J27*K27","v":0},{"$f":"D27*G27*H27*J27*K27","v":0},null,{"$f":"H27*(N27+O27*P27/100)","v":0},null,null,null,"単位"]
[null,2,null,null,null,"単位",{"$f":"IF(F28=Y28,\"0.00\",IF(F28=Y31,E28,IF(F28=Y30,E28/3600,E28/360000)))","v":0},null,null,1,1,null,2,null,null,null,null,{"$f":"D28*G28*H28*I28*J28*K28","v":0},{"$f":"D28*G28*H28*J28*K28","v":0},null,0,null,null,null,"cm/s"]
[null,3,null,null,null,"単位",0,null,null,1,1,null,3,null,null,null,null,0,0,null,0,null,null,null,"m/s"]
[null,4,null,null,null,"単位",0,null,null,1,1,null,4,null,null,null,null,0,0,null,0,null,null,null,"m/hr"]
[null,5,null,null,null,"単位",0,null,null,1,1,null,5,null,null,null,null,0,0,null,0]
[null,6,null,null,null,"単位",0,null,null,1,1,null,6,null,null,null,null,0,0,null,0]
[null,7,null,null,null,"単位",0,null,null,1,1,null,7,null,null,null,null,0,0,null,0]
[null,8,null,null,null,"単位",0,null,null,1,1,null,8,null,null,null,null,0,0,null,0]
[null,9,null,null,null,"単位",0,null,null,1,1,null,9,null,null,null,null,0,0,null,0]
[null,10,null,null,null,"単位",0,null,null,1,1,null,10,null,null,null,null,0,0,null,0]
[]
[null,"【浸透トレンチ】",null,"単位設計浸透能（ｍ3/ｈｒ/m）",null,null,null,"設置数量\n（ｍ）","設計水頭\n(m)","影響係数",null,null,"【浸透トレンチ】\n1mあたり","浸透管部","砕石部"]
[null,null,null,"比浸透量（㎡）","飽和透水係数",null,"飽和透水係数\n（m/hr）",null,null,"地下水位\n係数","目詰まり\n係数",null,null,"体積\n（ｍ3）","体積\n（ｍ3）","空隙率\n（％）"]
[]
[null,1,null,null,null,"m/hr",{"$f":"IF(F41=$X$11,0,IF(F41=$X$14,E41,IF(F41=$X$13,E41/3600,E41/360000)))","v":0},null,null,0.9,1,null,1,null,null,null,null,{"$f":"D41*G41*H41*I41*J41*K41","v":0},{"$f":"D41*G41*H41*J41*K41","v":0},null,{"$f":"H41*(N41+O41*P41/100)","v":0}]
[null,2,null,null,null,"単位",{"$f":"IF(F42=Y42,\"0\",IF(F42=Y45,E42,IF(F42=Y44,E42/3600,E42/360000)))","v":0},null,null,1,1,null,2,null,null,null,null,{"$f":"D42*G42*H42*I42*J42*K42","v":0},{"$f":"D42*G42*H42*J42*K42","v":0},null,0]
[null,3,null,null,null,"単位",0,null,null,1,1,null,3,null,null,null,null,0,0,null,0]
[null,4,null,null,null,"単位",0,null,null,1,1,null,4,null,null,null,null,0,0,null,0]
[null,5,null,null,null,"単位",0,null,null,1,1,null,5,null,null,null,null,0,0,null,0]
[null,6,null,null,null,"単位",0,null,null,1,1,null,6,null,null,null,null,0,0,null,0]
[null,7,null,null,null,"単位",0,null,null,1,1,null,7,null,null,null,null,0,0,null,0]
[null,8,null,null,null,"単位",0,null,null,1,1,null,8,null,null,null,null,0,0,null,0]
[null,9,null,null,null,"単位",0,null,null,1,1,null,9,null,null,null,null,0,0,null,0]
[null,10,null,null,null,"単位",0,null,null,1,1,null,10,null,null,null,null,0,0,null,0]
[]
[null,"統合諸元"]
[null,"設計浸透能(m3/hr)",null,{"$f":"S55","v":0}]
[null,"平均設計水頭(m)",null,{"$f":"IF(D53>0,+T55,0)","v":0}]
[null,"設計空隙貯留量(m3)",null,{"$f":"U55","v":0},null,null,null,null,null,null,null,null,null,null,null,null,"総合計",{"$f":"R57+R58","v":0},{"$f":"S57+S58","v":0},{"$f":"R55/S55","v":{"$error":"#DIV/0!"}},{"$f":"U57+U58","v":0}]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"マス",{"$f":"SUM(R27:R36)","v":0},{"$f":"SUM(S27:S36)","v":0},{"$f":"R57/S57","v":{"$error":"#DIV/0!"}},{"$f":"SUM(U27:U36)","v":0}]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"トレンチ",{"$f":"SUM(R41:R50)","v":0},{"$f":"SUM(S41:S50)","v":0},{"$f":"R58/S58","v":{"$error":"#DIV/0!"}},{"$f":"SUM(U41:U50)","v":0}]

{"sheet":"比浸透量","index":7,"n_rows":34,"n_cols":29,"rows_kept":34,"cut":false,"hidden":false,"merged":[[23,5,23,6],[23,7,23,8],[30,1,32,1],[23,1,23,2],[26,1,26,2],[27,1,27,2],[29,1,29,2],[28,1,28,2],[25,1,25,2]]}
[5,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1]
[]
[]
[null,null,"透水性舗装"]
[null,null,"浸透側溝および浸透トレンチ"]
[null,null,"円筒ます（側面および底面）"]
[null,null,"円筒ます（底面）"]
[null,null,"正方形ます（側面および底面）"]
[null,null,"正方形ます（底面）"]
[null,null,"矩形の桝"]
[]
[]
[null,null,"H：設計水頭(m)"]
[null,null,"W：施設幅(m)"]
[null,null,"D：施設直径(m)"]
[null,null,"L：施設延長(m)",200]
[]
[null,null,"K：比浸透量",-0.28299999999999997]
[]
[]
[]
[]
[]
[null,"施設",null,"透水性舗装\n（浸透池）","浸透側溝\nおよび\n浸透トレンチ","円筒ます",null,"正方形ます",null,"矩形\nのます"]
[null,"浸透面",null,"底面","側面\nおよび\n底面","側面\nおよび\n底面","底面","側面\nおよび\n底面","底面","側面\nおよび\n底面"]
[null,"模式図"]
[null,"H：設計水頭（m）",1,{"$f":"$D13","v":0},{"$f":"$D13","v":0},{"$f":"$D13","v":0},{"$f":"$D13","v":0},{"$f":"$D13","v":0},0,0]
[null,"W：施設幅(m)",null,{"$f":"$D14","v":0},{"$f":"$D14","v":0},0,0,0,0,0]
[null,"D：施設直径",null,{"$f":"$D15","v":0},{"$f":"$D15","v":0},0,0,0,0,0]
[null,"L：施設延長(m)",null,{"$f":"$D16","v":200},{"$f":"$D16","v":200},200,200,200,200,200]
[null,"係数","a",1.4E-2,3.093,{"$f":"IF(F29<0.2,\"適用外\",IF(F29<=1,0.475*F29+0.945,IF(F29<=10,6.244*F29+2.853,\"適用外\")))","v":"適用外"},{"$f":"IF(G29<0.3,\"適用外\",IF(G29<=1,1.497*G29-0.1,IF(G29<=10,2.556*G29-2.052,\"適用外\")))","v":"適用外"},{"$f":"IF(H28<=1,0.12*H28+0.985,IF(H28<=10,-0.453*H28^2+8.289*H28+0.753,IF(H28<=80,0.747*H28+21.355,\"適用外\")))","v":0.98499999999999999},{"$f":"IF(I28<=1,1.676*I28-0.137,IF(I28<=10,-0.204*I28^2+3.166*I28-1.936,IF(I28<=80,1.265*I28-15.67,\"適用外\")))","v":-0.13700000000000001},{"$f":"3.297*J30+1.971*J28+4.663","v":664.06299999999999}]
[null,null,"b",1.2869999999999999,{"$f":"1.34*E28+0.677","v":0.67700000000000005},{"$f":"IF(F29<0.2,\"適用外\",IF(F29<=1,6.07*F29+1.01,IF(F29<=10,0.93*F29^2+1.606*F29-0.773,\"適用外\")))","v":"適用外"},{"$f":"IF(G29<0.3,\"適用外\",IF(G29<=1,1.13*G29^2+0.638*G29-0.011,IF(G29<=10,0.924*G29^2+0.993*G29-0.087,\"適用外\")))","v":"適用外"},{"$f":"IF(H28<=1,7.837*H28+0.82,IF(H28<=10,1.458*H28^2+1.27*H28+0.362,IF(H28<=80,1.263*H28^2+4.295*H28-7.649,\"適用外\")))","v":0.82},{"$f":"IF(I28<=1,1.496*I28^2+I28*0.671-0.015,IF(I28<=10,1.345*I28^2+0.736*I28+0.251,IF(I28<=80,1.259*I28^2+2.336*I28-8.13,\"適用外\")))","v":-1.4999999999999999E-2},{"$f":"(1.401*J28+0.684)*J30+1.214*J28-0.834","v":135.96600000000001}]
[null,null,"c","-","-",{"$f":"IF(F29<0.2,\"適用外\",IF(F29<=1,2.57*F29-0.188,IF(F29<=10,\"-\",\"適用外\")))","v":"適用外"},{"$f":"IF(G28<=1,2.858*G28-0.283,IF(G28<80,\"-\",\"適用外\"))","v":-0.28299999999999997},{"$f":"IF(H28<=1,2.858*H28-0.283,IF(H28<=80,\"-\",\"適用外\"))","v":-0.28299999999999997},"-","-"]
[null,"比浸透量","K",{"$f":"IF(D27<=1.5,D31*D27+D32,\"適用外\")","v":1.2869999999999999},{"$f":"IF(AND(E27<=1.5,E28<=1.5),E31*E27+E32,\"適用外\")","v":0.67700000000000005},{"$f":"IF(F29<0.2,\"適用外\",IF(F29<=1,F31*F27^2+F32*F27+F33,IF(F29<=10,F31*F27+F32,\"適用外\")))","v":"適用外"},{"$f":"IF(G29<0.3,\"適用外\",IF(G29<10,G31*G29+G32,\"適用外\"))","v":"適用外"},{"$f":"IF(H28<=1,H31*H27^2+H32*H27+H33,IF(H28<=80,H31*H27+H32,\"適用外\"))","v":-0.28299999999999997},{"$f":"IF(I28<=80,I31*I27+I32,\"適用外\")","v":-1.4999999999999999E-2},{"$f":"IF(AND(J27<=1.5,J28<=4,J30<=200),J31*J27+J32,\"適用外\")","v":135.96600000000001}]

{"sheet":"02流出計算（QT-Sグラフ）","index":8,"n_rows":13,"n_cols":10,"rows_kept":13,"cut":false,"hidden":false,"merged":[[7,2,8,5],[12,2,14,5],[1,1,1,5],[1,7,1,23]]}
[]
[null,"流 出 計 算 条 件",null,null,null,null,null,"流 出 計 算 結 果"]
[]
[null,null,null,null,null,null,null,"時刻","浸透考慮前","浸透考慮後"]
[null,1,"浸透施設なし"]
[]
[null,null,"浸透施設あり"]
[null,null,"※「浸透施設能力」シートに浸透施設諸元を入力してください。"]
[]
[]
[null,null,"浸透施設あり"]
[null,null,"（貯留浸透モデル_道路管理者用）"]
[null,null,"※「浸透施設能力（貯留浸透モデル_道路管理者用）」シートに浸透施設諸元を入力してください。"]

{"sheet":"03-①調整池容量の概算","index":9,"n_rows":50,"n_cols":26,"rows_kept":50,"cut":false,"hidden":false,"merged":[[13,3,13,5],[8,8,8,11],[2,1,2,5],[4,4,5,4],[4,5,5,5],[8,4,9,4],[8,5,9,5]]}
["※①自然調節方式により調整地容量を概算する場合に入力してください"]
[]
[null,"入　力　条　件"]
[]
[null,null,"行為後ピーク流入量",null,{"$f":"MAX('02流出計算（QT-Sグラフ）'!$J$5:$J$149)","v":0},"m3/s"]
[null,null,"（浸透考慮後）"]
[]
[null,"調整池諸元"]
[null,null,"許容放流量",null,{"$f":"MAX('01流出計算（Q-Tグラフ）'!$I$5:$I$149)","v":0},"m3/s",null,null,"概　算　結　果"]
[null,null,"（行為前ピーク流入量）"]
[null,null,null,null,null,null,null,null,null,"必要容量",null,"m3/ha"]
[null,null,"調整池高",null,null,"m"]
[]
[null,"浸透施設条件",null,{"$f":"IF('02流出計算（QT-Sグラフ）'!$B$5=1,\"浸透施設なし\",IF('02流出計算（QT-Sグラフ）'!$B$5=2,\"浸透施設あり\",\"浸透施設あり（貯留浸透モデル_道路管理者用）\"))","v":"浸透施設なし"},null,null,{"$f":"'02流出計算（QT-Sグラフ）'!$B$5","v":1},null,null,"オリフィス径（円管、直径）",null,"m"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"chou"]

{"sheet":"04-①調節計算（自然調節方式）","index":10,"n_rows":151,"n_cols":27,"rows_kept":151,"cut":false,"hidden":false,"merged":[[3,20,3,25],[24,15,24,16],[3,1,3,8],[5,12,6,12],[5,13,6,13],[8,12,9,12],[8,13,9,13],[3,10,3,13],[13,15,13,16],[10,15,11,18],[28,15,29,18],[1,1,1,13],[15,15,15,16],[17,15,17,16],[20,15,20,16],[22,15,22,16]]}
[]
[null,"入　力　条　件"]
[]
[null,"設 定 調 整 池 諸 元",null,null,null,null,null,null,null,null,"行 為 後 流 入 量",null,null,null,null,null,null,null,null,null,"計　算　結　果　（時　系　列）"]
[]
[null,"水深-容量",null,null,null,null,"放流口形状",null,null,null,"行為後ピーク流入量",null,{"$f":"MAX('02流出計算（QT-Sグラフ）'!$J$5:$J$149)","v":0},"m3/s",null,null,null,null,null,null,"時刻","行為後流入量","浸透考慮後流入量","許容放流量","調節後放流量","調整池水位"]
[null,"No","水深H（m）","容量V（m3）",null,null,"（口径）",null,null,null,"（浸透考慮後）",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
[null,1,null,null,null,1,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.92788630441105235]
[null,2,null,null,null,null,"直径",null,"m",null,"許容放流量",null,{"$f":"MAX('01流出計算（Q-Tグラフ）'!$I$5:$I$149)","v":0},"m3/s",null,null,null,null,null,null,null,null,null,null,null,null,2.7185991892122727]
[null,3,null,null,null,null,null,null,null,null,"（行為前ピーク流入量）",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,4.3588527008972999]
[null,4,null,null,null,null,null,null,null,null,null,null,null,null,null,"計　算　結　果",null,null,null,null,null,null,null,null,null,null,5.8224705770731529]
[null,5,null,null,null,null,"高さ",null,"m",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,7.1411531300912747]
[null,6,null,null,null,null,"幅",null,"m",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,8.3161530146289131]
[null,7,null,null,null,null,null,null,null,null,null,null,null,null,null,"総合評価",null,null,null,null,null,null,null,null,null,null,9.3170144589715651]
[null,8,null,null,null,null,"（管底位置）",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,10.196792203186309]
[null,9,null,null,null,null,"池底高から",null,"m",null,null,null,null,null,null,"放流量評価",null,null,null,null,null,null,null,null,null,null,10.973810077847673]
[null,10,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,11.623831045175008]
[null,11,null,null,null,null,null,null,null,null,null,null,null,null,null,"池容量評価",null,null,null,null,null,null,null,null,null,null,12.192836053881685]
[null,12,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,12.69200628971659]
[null,13,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,13.136536637777319]
[null,14,null,null,null,null,null,null,null,null,null,null,null,null,null,"最大放流量",null,null,"m3/s",null,null,null,null,null,null,null,13.539469379030356]
[null,15,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,13.868013770137159]
[null,16,null,null,null,null,null,null,null,null,null,null,null,null,null,"池内最大水深",null,null,"m",null,null,null,null,null,null,null,14.167796634074035]
[null,17,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,14.445633839830364]
[null,18,null,null,null,null,null,null,null,null,null,null,null,null,null,"池内最大ボリューム",null,null,"m3",null,null,null,null,null,null,null,14.705663216047817]
[null,19,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,14.951254758739024]
[null,20,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,15.185032978755732]
[null,21,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,15.410533899933242]
[null,22,null,null,null,null,null,null,null,null,null,null,null,null,null,"許 可 申 請 図 書 の 作 成",null,null,null,null,null,null,null,null,null,null,15.624416153677547]
[null,23,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,15.82634080140414]
[null,24,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,16.018971283368234]
[null,25,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,16.210124292564078]
[null,26,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,16.399522892943303]
[null,27,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,16.61474109442705]
[null,28,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,16.816450649625629]
[null,29,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,17.015676337632904]
[null,30,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,17.243947843486524]
[null,31,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,17.453619084136154]
[null,32,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,17.655796340285796]
[null,33,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,17.889187799401348]
[null,34,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,18.137634143645791]
[null,35,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,18.400768720403384]
[null,36,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,18.68110609927805]
[null,37,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,18.966479312777082]
[null,38,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,19.256341735391249]
[null,39,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,19.550150947110019]
[null,40,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,19.847368637816615]
[null,41,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,20.150460515251687]
[null,42,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,20.4558962163619]
[null,43,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,20.792927829343665]
[null,44,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,21.151665415668038]
[null,45,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,21.528300031442758]
[null,46,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,21.954551664928896]
[null,47,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,22.385762051208012]
[null,48,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,22.817845209921416]
[null,49,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,23.313171177697097]
[null,50,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,23.86366313823666]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,24.418831411404845]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,25.002978485202149]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,25.645075092640582]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,26.327617209570107]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,27.074604893575838]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,27.898028647502958]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,28.809162156190965]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,29.815663368187739]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,30.88256797435508]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,32.056516538614908]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,33.407339847283396]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,34.943340849187614]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,36.696286341634924]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,38.71958760242353]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,41.083775789065307]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43.92524741287508]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,47.449485139440419]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,51.945945535509011]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,57.908236304330813]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,66.430047079808944]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,81.920574581804544]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,124.02803528608393]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,167.94540116634286]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,180.29961340547032]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,176.03792102096537]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,165.19437457936843]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,151.46000658407476]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,136.65171750317248]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,121.80350287770895]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,107.54830463912924]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,93.727040850221499]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,80.036365520072664]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,67.473533475176026]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,57.737317673155864]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,50.942314102614866]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,45.964230194802887]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,42.182717204683541]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,39.231566787613886]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,36.866860364244943]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,34.926264316457519]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,33.296953964260759]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,31.919363555117503]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,30.720294595053637]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,29.641354579427531]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,28.682196523155952]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,27.805283325713496]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,26.984910603139216]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,26.27160896136089]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,25.636341329965141]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,25.025375679238422]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,24.462457838590318]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,23.935785076570795]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,23.433760328267358]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,22.984194419167562]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,22.537083873663512]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,22.091310625339815]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,21.684745661356498]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,21.306914151726076]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,20.947507228773596]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,20.602718757978479]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,20.265628689211582]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,19.965458531664478]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,19.698679854653051]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,19.425760341397673]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,19.144737633095506]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,18.889709070274328]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,18.652887707089548]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,18.402225085964215]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,18.176359662721808]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,17.963242347498539]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,17.723559187659102]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,17.495994302307562]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,17.283229846313493]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,17.084945973205375]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,16.889505927849122]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,16.69664003202163]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,16.513281899340463]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,16.335044522282473]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,16.193630762047153]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,16.045783771242995]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,15.891355851979474]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,15.730198630364328]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,15.566157201055713]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,15.434087655914777]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,15.293845382034103]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,15.149273359533082]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,15.036219689510837]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,14.911627778077298]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,14.771473972511682]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,14.658546771762843]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,14.533744771574685]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,14.396932173605082]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,14.287006678984072]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,14.164024570952396]

{"sheet":"04-②調節計算（2段）","index":11,"n_rows":57,"n_cols":26,"rows_kept":57,"cut":false,"hidden":false,"merged":[[14,10,15,11],[14,12,15,12],[14,13,15,13],[15,15,15,16],[8,10,9,11],[8,12,9,12],[8,13,9,13],[11,10,12,11],[11,12,12,12],[11,13,12,13],[13,15,13,16],[10,15,11,18],[1,1,1,13],[3,1,3,8],[3,10,3,13],[5,12,6,12],[5,13,6,13],[28,15,29,18],[3,20,3,25],[26,15,26,16],[17,15,17,16],[20,15,20,16],[22,15,22,16],[24,15,24,16]]}
[]
[null,"入　力　条　件"]
[]
[null,"設 定 調 整 池 諸 元",null,null,null,null,null,null,null,null,"行 為 後 流 入 量",null,null,null,null,null,null,null,null,null,"計　算　結　果　（時　系　列）"]
[]
[null,"水深-容量",null,null,null,null,"■上段オリフィス",null,null,null,"行為後ピーク流入量",null,{"$f":"MAX('02流出計算（QT-Sグラフ）'!$J$5:$J$149)","v":0},"m3/s",null,null,null,null,null,null,"時刻","行為後流入量","浸透考慮後流入量","許容放流量","調節後放流量","調整池水位"]
[null,"No","水深H（m）","容量V（m3）",null,null,"放流口形状",null,null,null,"（浸透考慮後）"]
[null,1,null,null,null,2,"（口径）"]
[null,2,null,null,null,null,null,null,null,null,"許容放流量（計）",null,{"$f":"MAX('01流出計算（Q-Tグラフ）'!$I$5:$I$149)","v":0},"m3/s"]
[null,3,null,null,null,null,"直径",null,"m"]
[null,4,null,null,null,null,null,null,null,null,null,null,null,null,null,"計　算　結　果"]
[null,5,null,null,null,null,null,null,null,null,"許容放流量（上段）",null,null,"m3/s"]
[null,6,null,null,null,null,"高さ",null,"m"]
[null,7,null,null,null,null,"幅",null,"m",null,null,null,null,null,null,"総合評価"]
[null,8,null,null,null,null,null,null,null,null,"許容放流量（下段）",null,{"$f":"M9-M12","v":0},"m3/s"]
[null,9,null,null,null,null,"（管底位置）",null,null,null,null,null,null,null,null,"放流量評価"]
[null,10,null,null,null,null,"池底高から",null,"m"]
[null,11,null,null,null,null,null,null,null,null,null,null,null,null,null,"池容量評価"]
[null,12,null,null,null,null,"■下段オリフィス"]
[null,13,null,null,null,null,"放流口形状"]
[null,14,null,null,null,null,"（口径）",null,null,null,null,null,null,null,null,"最大放流量（上段+下段）",null,null,"m3/s"]
[null,15,null,null,null,1]
[null,16,null,null,null,null,"直径",null,"m",null,null,null,null,null,null,"最大放流量（下段）",null,null,"m3/s"]
[null,17]
[null,18,null,null,null,null,null,null,null,null,null,null,null,null,null,"池内最大水深",null,null,"m"]
[null,19,null,null,null,null,"高さ",null,"m"]
[null,20,null,null,null,null,"幅",null,"m",null,null,null,null,null,null,"池内最大ボリューム",null,null,"m3"]
[null,21]
[null,22,null,null,null,null,"（管底位置）",null,null,null,null,null,null,null,null,"許 可 申 請 図 書 の 作 成"]
[null,23,null,null,null,null,"池底高から",null,"m"]
[null,24]
[null,25]
[null,26]
[null,27]
[null,28]
[null,29]
[null,30]
[null,31]
[null,32]
[null,33]
[null,34]
[null,35]
[null,36]
[null,37]
[null,38]
[null,39]
[null,40]
[null,41]
[null,42]
[null,43]
[null,44]
[null,45]
[null,46]
[null,47]
[null,48]
[null,49]
[null,50]

{"sheet":"04-③調節計算（ポンプ）","index":12,"n_rows":57,"n_cols":26,"rows_kept":57,"cut":false,"hidden":false,"merged":[[11,9,12,10],[11,11,12,11],[11,12,12,12],[14,9,15,10],[1,1,1,12],[3,9,3,12],[5,11,6,11],[5,12,6,12],[8,11,9,11],[8,12,9,12],[3,1,3,3],[3,5,3,7],[22,15,22,16],[28,15,29,18],[14,11,15,11],[3,20,3,25],[13,15,13,16],[15,15,15,16],[17,15,17,16],[14,12,15,12],[24,15,24,16],[10,15,11,18],[20,15,20,16]]}
[]
[null,"入　力　条　件"]
[]
[null,"設 定 調 整 池 諸 元",null,null,null,"放 流 ポ ン プ 諸 元",null,null,null,"行 為 後 流 入 量",null,null,null,null,null,null,null,null,null,null,"計　算　結　果　（時　系　列）"]
[]
[null,"水深-容量",null,null,null,"水深-ポンプ",null,null,null,"行為後ピーク流入量",null,{"$f":"MAX('02流出計算（QT-Sグラフ）'!$J$5:$J$149)","v":0},"m3/s",null,null,null,null,null,null,null,"時刻","行為後流入量","浸透考慮後流入量","許容放流量","調節後放流量","調整池水位"]
[null,"No","水深H（m）","容量V（m3）",null,"No","水深H（m）","ポンプ規模Q(m3/s)",null,"（浸透考慮後）"]
[null,1,null,null,null,1]
[null,2,null,null,null,2,null,null,null,"許容放流量",null,{"$f":"MAX('01流出計算（Q-Tグラフ）'!$I$5:$I$149)","v":0},"m3/s"]
[null,3,null,null,null,3,null,null,null,"（行為前ピーク流入量）"]
[null,4,null,null,null,4,null,null,null,null,null,null,null,null,null,"計　算　結　果"]
[null,5,null,null,null,5]
[null,6,null,null,null,6]
[null,7,null,null,null,7,null,null,null,null,null,null,null,null,null,"総合評価"]
[null,8,null,null,null,8]
[null,9,null,null,null,9,null,null,null,null,null,null,null,null,null,"放流量評価"]
[null,10,null,null,null,10]
[null,11,null,null,null,11,null,null,null,null,null,null,null,null,null,"池容量評価"]
[null,12,null,null,null,12]
[null,13,null,null,null,13]
[null,14,null,null,null,14,null,null,null,null,null,null,null,null,null,"最大放流量",null,null,"m3/s"]
[null,15,null,null,null,15]
[null,16,null,null,null,16,null,null,null,null,null,null,null,null,null,"池内最大水深",null,null,"m"]
[null,17,null,null,null,17]
[null,18,null,null,null,18,null,null,null,null,null,null,null,null,null,"池内最大ボリューム",null,null,"m3"]
[null,19,null,null,null,19]
[null,20,null,null,null,20]
[null,21,null,null,null,21]
[null,22,null,null,null,22,null,null,null,null,null,null,null,null,null,"許 可 申 請 図 書 の 作 成"]
[null,23,null,null,null,23]
[null,24,null,null,null,24]
[null,25,null,null,null,25]
[null,26,null,null,null,26]
[null,27,null,null,null,27]
[null,28,null,null,null,28]
[null,29,null,null,null,29]
[null,30,null,null,null,30]
[null,31,null,null,null,31]
[null,32,null,null,null,32]
[null,33,null,null,null,33]
[null,34,null,null,null,34]
[null,35,null,null,null,35]
[null,36,null,null,null,36]
[null,37,null,null,null,37]
[null,38,null,null,null,38]
[null,39,null,null,null,39]
[null,40,null,null,null,40]
[null,41,null,null,null,41]
[null,42,null,null,null,42]
[null,43,null,null,null,43]
[null,44,null,null,null,44]
[null,45,null,null,null,45]
[null,46,null,null,null,46]
[null,47,null,null,null,47]
[null,48,null,null,null,48]
[null,49,null,null,null,49]
[null,50,null,null,null,50]

{"sheet":"１．行為区域の概要","index":13,"n_rows":34,"n_cols":10,"rows_kept":34,"cut":false,"hidden":true,"merged":[[27,1,31,3],[33,1,33,4],[32,1,32,4],[7,1,7,3],[8,1,18,1],[8,2,18,3],[19,1,26,1],[19,2,20,3],[21,2,23,3],[24,2,26,3]]}
[]
["１．行為区域の概要　"]
[null,"（※位置及び行為前後の土地利用区分のわかる平面図を添付すること）"]
["行為区域位置",null,null,null,"○○市○○区○○町"]
["行為面積",null,null,null,0]
["行為前後の土地利用区分"]
[]
[null,"区分",null,null,"土地利用の形態の細区分","流出係数","行為前面積\n（ha）","行為後面積\n（ha）"]
[null,"宅地等に該当する土地","第１号関連",null,"宅地"]
[null,null,null,null,"池沼"]
[null,null,null,null,"水路"]
[null,null,null,null,"ため池"]
[null,null,null,null,"道路(法面を有しないもの）"]
[null,null,null,null,"道路（法面を有するもの）"]
[null,null,null,null,"鉄道線路（法面を有しないもの）"]
[null,null,null,null,"鉄道線路（法面を有するもの）"]
[null,null,null,null,"飛行場（法面を有しないもの）"]
[null,null,null,null,"飛行場（法面を有するもの）"]
[null,null,null,null,"太陽光パネル",null,null,null,{"$f":"$F19*$G19","v":0},{"$f":"$F19*$H19","v":0}]
[null,"宅地等以外の土地","第２号\n関　連",null,"不浸透性材料により舗装された土地\n（法面を除く）"]
[null,null,null,null,"不浸透性材料により覆われた法面"]
[null,null,"第３号関連",null,"ゴルフ場（雨水を排除するための排水施設を伴うものに限る）"]
[null,null,null,null,"運動場その他これに類する施設（雨水を排除するための排水施設を伴うものに限る）"]
[null,null,null,null,"ローラーその他これに類する建設機械を用いて締め固められた土地"]
[null,null,"上記第１号から\n第３号に掲げる\n土地以外の土地",null,"山地"]
[null,null,null,null,"人工的に造成され植生に覆われた法面"]
[null,null,null,null,"林地、耕地、原野その他ローラーその他これに類する建設機械を用いて締め固められていない土地"]
[null,"そ　　の　　他"]
[]
[]
[]
[]
[null,"面積計",null,null,null,null,{"$f":"SUM(G9:G32)","v":0},{"$f":"SUM(H9:H32)","v":0}]
[null,"平均流出係数",null,null,null,null,{"$f":"SUMPRODUCT($F$9:$F$32,G9:G32)/$G$33","v":{"$error":"#DIV/0!"}},{"$f":"SUMPRODUCT($F$9:$F$32,H9:H32)/$H$33","v":{"$error":"#DIV/0!"}}]

{"sheet":"２．使用降雨強度及びピーク流入量","index":14,"n_rows":46,"n_cols":13,"rows_kept":46,"cut":false,"hidden":true,"merged":[[3,4,3,5],[4,4,4,5]]}
[]
["２．使用降雨強度及びピーク流量"]
[]
["ピーク流入量（行為前）",null,null,null,null,null,"m3／s"]
["ピーク流入量（行為後）",null,null,null,null,null,"m3／s"]
[]
[]
["降雨強度の推移表　　年　　月　　日"]
[]
[null,"時","分","降雨量\n（mm/h）","時","分","降雨量\n（mm/h）","時","分","降雨量\n（mm/h）","時","分","降雨量\n（mm/h）"]
[null,0,"0－10",null,6,"0－10",null,12,"0－10",null,18,"0－10"]
[null,null,"10－20",null,null,"10－20",null,null,"10－20",null,null,"10－20"]
[null,null,"20－30",null,null,"20－30",null,null,"20－30",null,null,"20－30"]
[null,null,"30－40",null,null,"30－40",null,null,"30－40",null,null,"30－40"]
[null,null,"40－50",null,null,"40－50",null,null,"40－50",null,null,"40－50"]
[null,null,"50－60",null,null,"50－60",null,null,"50－60",null,null,"50－60"]
[null,1,"0－10",null,7,"0－10",null,13,"0－10",null,19,"0－10"]
[null,null,"10－20",null,null,"10－20",null,null,"10－20",null,null,"10－20"]
[null,null,"20－30",null,null,"20－30",null,null,"20－30",null,null,"20－30"]
[null,null,"30－40",null,null,"30－40",null,null,"30－40",null,null,"30－40"]
[null,null,"40－50",null,null,"40－50",null,null,"40－50",null,null,"40－50"]
[null,null,"50－60",null,null,"50－60",null,null,"50－60",null,null,"50－60"]
[null,2,"0－10",null,8,"0－10",null,14,"0－10",null,20,"0－10"]
[null,null,"10－20",null,null,"10－20",null,null,"10－20",null,null,"10－20"]
[null,null,"20－30",null,null,"20－30",null,null,"20－30",null,null,"20－30"]
[null,null,"30－40",null,null,"30－40",null,null,"30－40",null,null,"30－40"]
[null,null,"40－50",null,null,"40－50",null,null,"40－50",null,null,"40－50"]
[null,null,"50－60",null,null,"50－60",null,null,"50－60",null,null,"50－60"]
[null,3,"0－10",null,9,"0－10",null,15,"0－10",null,21,"0－10"]
[null,null,"10－20",null,null,"10－20",null,null,"10－20",null,null,"10－20"]
[null,null,"20－30",null,null,"20－30",null,null,"20－30",null,null,"20－30"]
[null,null,"30－40",null,null,"30－40",null,null,"30－40",null,null,"30－40"]
[null,null,"40－50",null,null,"40－50",null,null,"40－50",null,null,"40－50"]
[null,null,"50－60",null,null,"50－60",null,null,"50－60",null,null,"50－60"]
[null,4,"0－10",null,10,"0－10",null,16,"0－10",null,22,"0－10"]
[null,null,"10－20",null,null,"10－20",null,null,"10－20",null,null,"10－20"]
[null,null,"20－30",null,null,"20－30",null,null,"20－30",null,null,"20－30"]
[null,null,"30－40",null,null,"30－40",null,null,"30－40",null,null,"30－40"]
[null,null,"40－50",null,null,"40－50",null,null,"40－50",null,null,"40－50"]
[null,null,"50－60",null,null,"50－60",null,null,"50－60",null,null,"50－60"]
[null,5,"0－10",null,11,"0－10",null,17,"0－10",null,23,"0－10"]
[null,null,"10－20",null,null,"10－20",null,null,"10－20",null,null,"10－20"]
[null,null,"20－30",null,null,"20－30",null,null,"20－30",null,null,"20－30"]
[null,null,"30－40",null,null,"30－40",null,null,"30－40",null,null,"30－40"]
[null,null,"40－50",null,null,"40－50",null,null,"40－50",null,null,"40－50"]
[null,null,"50－60",null,null,"50－60",null,null,"50－60",null,null,"50－60"]

{"sheet":"３．流出抑制施設諸元 （一定量）","index":15,"n_rows":60,"n_cols":13,"rows_kept":60,"cut":false,"hidden":true,"merged":[[20,10,21,10],[20,11,21,11],[20,12,21,12],[5,11,5,12],[6,10,7,10],[6,11,7,11],[6,12,7,12],[19,11,19,12],[33,9,35,9],[33,10,35,10],[33,11,35,11],[34,2,35,2],[34,3,35,3],[33,5,33,7],[47,5,47,7],[47,9,49,9],[47,10,49,10],[47,11,49,11],[48,2,49,2],[48,3,49,3],[33,1,35,1],[33,2,33,3],[33,4,35,4],[47,1,49,1],[47,2,47,3],[47,4,49,4],[19,5,19,7],[19,9,21,9],[5,1,7,1],[5,2,5,3],[5,4,7,4],[5,5,5,7],[5,9,7,9],[6,2,7,2],[6,3,7,3],[19,1,21,1],[19,2,19,3],[19,4,21,4],[20,2,21,2],[20,3,21,3]]}
[]
["３．流出抑制施設諸元"]
[null,"浸透施設諸元",null,null,null,null,null,null,null,"空隙貯留量諸元"]
[null,"浸透能力",0,"m3/s",null,null,null,null,null,"空隙貯留量",0,"m3"]
[]
[null,"【浸透マス】","単位設計浸透能（ｍ3/ｈｒ/個）",null,"設置数量\n（個）","影響係数",null,null,null,"【浸透マス】\n1個あたり","ます部","砕石部"]
[null,null,"比浸透量（㎡）","飽和透水係数\n（m/hr）",null,"（1）","（2）","（3）",null,null,"体積\n（ｍ3）","体積\n（ｍ3）","空隙率\n（％）"]
[null,null,null,null,null,"内容（１）","内容（２）","内容（３）"]
[null,1,null,null,null,null,null,null,null,1]
[null,2,null,null,null,null,null,null,null,2]
[null,3,null,null,null,null,null,null,null,3]
[null,4,null,null,null,null,null,null,null,4]
[null,5,null,null,null,null,null,null,null,5]
[null,6,null,null,null,null,null,null,null,6]
[null,7,null,null,null,null,null,null,null,7]
[null,8,null,null,null,null,null,null,null,8]
[null,9,null,null,null,null,null,null,null,9]
[null,10,null,null,null,null,null,null,null,10]
[]
[null,"【浸透トレンチ】","単位設計浸透能（ｍ3/ｈｒ/m）",null,"設置数量\n（ｍ）","影響係数",null,null,null,"【浸透トレンチ】\n1mあたり","浸透管部","砕石部"]
[null,null,"比浸透量（㎡）","飽和透水係数\n（m/hr）",null,"（1）","（2）","（3）",null,null,"体積\n（ｍ3）","体積\n（ｍ3）","空隙率\n（％）"]
[null,null,null,null,null,"内容（１）","内容（２）","内容（３）"]
[null,1,null,null,null,null,null,null,null,1]
[null,2,null,null,null,null,null,null,null,2]
[null,3,null,null,null,null,null,null,null,3]
[null,4,null,null,null,null,null,null,null,4]
[null,5,null,null,null,null,null,null,null,5]
[null,6,null,null,null,null,null,null,null,6]
[null,7,null,null,null,null,null,null,null,7]
[null,8,null,null,null,null,null,null,null,8]
[null,9,null,null,null,null,null,null,null,9]
[null,10,null,null,null,null,null,null,null,10]
[]
[null,"【透水性舗装】","単位設計浸透能（ｍ3/ｈｒ/㎡）",null,"設置数量\n（㎡）","影響係数",null,null,null,"【透水性塗装】","体積\n（ｍ3）","空隙率\n（％）"]
[null,null,"比浸透量（㎡）","飽和透水係数\n（m/hr）",null,"（1）","（2）","（3）"]
[null,null,null,null,null,"内容（１）","内容（２）","内容（３）"]
[null,1,null,null,null,null,null,null,null,1]
[null,2,null,null,null,null,null,null,null,2]
[null,3,null,null,null,null,null,null,null,3]
[null,4,null,null,null,null,null,null,null,4]
[null,5,null,null,null,null,null,null,null,5]
[null,6,null,null,null,null,null,null,null,6]
[null,7,null,null,null,null,null,null,null,7]
[null,8,null,null,null,null,null,null,null,8]
[null,9,null,null,null,null,null,null,null,9]
[null,10,null,null,null,null,null,null,null,10]
[]
[null,"【その他】","単位設計浸透能（ｍ3/ｈｒ/単位）",null,"設置数量\n（単位）","影響係数",null,null,null,"【その他】","体積\n（ｍ3）","空隙率\n（％）"]
[null,null,"比浸透量（㎡）","飽和透水係数\n（m/hr）",null,"（1）","（2）","（3）"]
[null,null,null,null,null,"内容（１）","内容（２）","内容（３）"]
[null,1,null,null,null,null,null,null,null,1]
[null,2,null,null,null,null,null,null,null,2]
[null,3,null,null,null,null,null,null,null,3]
[null,4,null,null,null,null,null,null,null,4]
[null,5,null,null,null,null,null,null,null,5]
[null,6,null,null,null,null,null,null,null,6]
[null,7,null,null,null,null,null,null,null,7]
[null,8,null,null,null,null,null,null,null,8]
[null,9,null,null,null,null,null,null,null,9]
[null,10,null,null,null,null,null,null,null,10]

{"sheet":"３．流出抑制施設諸元 （浸透施設）","index":16,"n_rows":62,"n_cols":19,"rows_kept":62,"cut":false,"hidden":true,"merged":[[57,1,57,2],[58,1,58,2],[59,1,59,6],[50,1,50,2],[51,1,51,2],[52,1,52,2],[53,1,53,2],[56,1,56,2],[56,6,56,7],[49,1,49,2],[41,6,43,6],[41,7,41,8],[48,1,48,2],[41,12,41,13],[42,12,43,12],[42,13,43,13],[42,11,43,11],[42,7,43,7],[41,10,43,10],[44,1,44,2],[45,1,45,2],[46,1,46,2],[47,1,47,2],[42,8,43,8],[41,5,43,5],[33,1,33,2],[34,1,34,2],[35,1,35,2],[37,1,37,2],[38,1,38,2],[36,1,36,2],[39,1,39,2],[41,1,43,2],[41,3,41,4],[42,3,43,3],[42,4,43,4],[27,18,29,18],[28,3,29,3],[28,4,29,4],[28,7,29,7],[28,8,29,8],[27,16,29,16],[27,17,29,17],[27,10,29,10],[27,15,29,15],[27,7,27,8],[27,12,27,13],[28,11,29,11],[28,12,29,12],[28,13,29,13],[31,1,31,2],[32,1,32,2],[25,1,25,6],[27,1,29,2],[27,3,27,4],[27,5,29,5],[27,6,29,6],[30,1,30,2],[20,1,20,2],[20,9,20,10],[21,1,21,2],[21,9,21,10],[22,1,22,2],[22,9,22,10],[19,1,19,2],[19,9,19,10],[12,1,13,1],[12,6,12,7],[13,6,13,7],[14,1,14,6],[15,1,15,3],[16,1,16,2],[16,9,16,10],[17,1,17,2],[17,9,17,10],[18,1,18,2],[18,9,18,10],[10,1,11,1],[10,6,10,7],[11,6,11,7],[4,7,4,8],[6,1,6,6],[8,1,8,2],[9,1,9,2],[9,6,9,7]]}
[]
["３．流出抑制施設諸元"]
[]
[]
[]
["透水性舗装"]
[]
[null,"基本諸元"]
[null,"設置数量(舗装面積) (m2)"]
[null,"飽和透水係数 （m/hr）",null,null,null,null,"上層路盤での貯留率(%)",null,{"$f":"L21","v":0}]
[null,"比浸透量算定定数\nK=aH+b","a",null,null,null,"下層路盤での貯留率(%)",null,{"$f":"L22","v":0}]
[null,null,"b",null,null,null,"下層路盤厚(mm)",null,{"$f":"D22","v":0}]
[null,"目詰まり\n係数","C1",null,null,null,"下層路盤での貯留量(mm)",null,{"$f":"M22","v":0}]
[null,null,"C2",null,null,null,"貯留量の合計(mm)",null,{"$f":"M23","v":0}]
[]
[null,"貯留率と水拘束率"]
[null,null,null,"厚さ(mm)","空気間隙率\n(%)","空気間隙率との関係","水拘束率\n(%)","水拘束量\n(mm)","貯留率\n(%)","貯留量\n(mm)",null,"STEP2での\n貯留率\n(%)","STEP2での\n貯留量\n(mm)"]
[null,"関係式",null,"a","b","b'","c","a×c/100","d (=b+b')","a×d/100",null,"d-c","a×(d-c)/100"]
[null,"表層",null,null,null,null,null,{"$f":"D19*G19/100","v":0},{"$f":"E19+F19","v":0},{"$f":"D19*I19/100","v":0},null,{"$f":"I19-G19","v":0},{"$f":"D19*(I19-G19)/100","v":0}]
[null,"中間層・基層",null,null,null,null,null,{"$f":"D20*G20/100","v":0},{"$f":"E20+F20","v":0},{"$f":"D20*I20/100","v":0},null,{"$f":"I20-G20","v":0},{"$f":"D20*(I20-G20)/100","v":0}]
[null,"上層路盤",null,null,null,null,null,{"$f":"D21*G21/100","v":0},{"$f":"E21+F21","v":0},{"$f":"D21*I21/100","v":0},null,{"$f":"I21-G21","v":0},{"$f":"D21*(I21-G21)/100","v":0}]
[null,"下層路盤",null,null,null,null,null,{"$f":"D22*G22/100","v":0},{"$f":"E22+F22","v":0},{"$f":"D22*I22/100","v":0},null,{"$f":"I22-G22","v":0},{"$f":"D22*(I22-G22)/100","v":0}]
[null,"合計",null,{"$f":"SUM(D19:D22)","v":0},"-","-","-",{"$f":"SUM(H19:H22)","v":0},"-",{"$f":"SUM(J19:J22)","v":0},null,"-",{"$f":"SUM(M19:M22)","v":0}]
[]
["浸透マス・トレンチ"]
[]
[null,"浸透能諸元",null,null,null,null,null,null,null,null,"空隙貯留諸元"]
[null,"【浸透マス】",null,"単位設計浸透能（ｍ3/ｈｒ/個）",null,"設置数量\n（個）","設計水頭\n(m)","影響係数",null,null,"【浸透マス】\n1個あたり","ます部","砕石部",null,null,"Σ","設計浸透量","平均設計水頭","設計空隙貯留量"]
[null,null,null,"比浸透量（㎡）","飽和透水係数\n（m/hr）",null,null,"地下水位\n係数","目詰まり\n係数",null,null,"体積\n（ｍ3）","体積\n（ｍ3）","空隙率\n（％）"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"小計"]
[null,1,null,null,null,null,null,1,1,null,1,null,null,null,null,{"$f":"D31*E31*F31*G31*H31*I31","v":0},{"$f":"D31*E31*F31*H31*I31","v":0},null,{"$f":"L31*M31/100","v":0}]
[null,2,null,null,null,null,null,1,1,null,2,null,null,null,null,{"$f":"D32*E32*F32*G32*H32*I32","v":0},{"$f":"D32*E32*F32*H32*I32","v":0},null,0]
[null,3,null,null,null,null,null,1,1,null,3,null,null,null,null,0,0,null,0]
[null,4,null,null,null,null,null,1,1,null,4,null,null,null,null,0,0,null,0]
[null,5,null,null,null,null,null,1,1,null,5,null,null,null,null,0,0,null,0]
[null,6,null,null,null,null,null,1,1,null,6,null,null,null,null,0,0,null,0]
[null,7,null,null,null,null,null,1,1,null,7,null,null,null,null,0,0,null,0]
[null,8,null,null,null,null,null,1,1,null,8,null,null,null,null,0,0,null,0]
[null,9,null,null,null,null,null,1,1,null,9,null,null,null,null,0,0,null,0]
[null,10,null,null,null,null,null,1,1,null,10,null,null,null,null,0,0,null,0]
[]
[null,"【浸透トレンチ】",null,"単位設計浸透能（ｍ3/ｈｒ/m）",null,"設置数量\n（ｍ）","設計水頭\n(m)","影響係数",null,null,"【浸透トレンチ】\n1mあたり","浸透管部","砕石部"]
[null,null,null,"比浸透量（㎡）","飽和透水係数\n（m/hr）",null,null,"地下水位\n係数","目詰まり\n係数",null,null,"体積\n（ｍ3）","体積\n（ｍ3）","空隙率\n（％）"]
[]
[null,1,null,null,null,null,null,1,1,null,1,null,null,null,null,{"$f":"D45*E45*F45*G45*H45*I45","v":0},{"$f":"D45*E45*F45*H45*I45","v":0},null,{"$f":"L45*M45/100","v":0}]
[null,2,null,null,null,null,null,1,1,null,2,null,null,null,null,{"$f":"D46*E46*F46*G46*H46*I46","v":0},{"$f":"D46*E46*F46*H46*I46","v":0},null,0]
[null,3,null,null,null,null,null,1,1,null,3,null,null,null,null,0,0,null,0]
[null,4,null,null,null,null,null,1,1,null,4,null,null,null,null,0,0,null,0]
[null,5,null,null,null,null,null,1,1,null,5,null,null,null,null,0,0,null,0]
[null,6,null,null,null,null,null,1,1,null,6,null,null,null,null,0,0,null,0]
[null,7,null,null,null,null,null,1,1,null,7,null,null,null,null,0,0,null,0]
[null,8,null,null,null,null,null,1,1,null,8,null,null,null,null,0,0,null,0]
[null,9,null,null,null,null,null,1,1,null,9,null,null,null,null,0,0,null,0]
[null,10,null,null,null,null,null,1,1,null,10,null,null,null,null,0,0,null,0]
[]
[null,"統合諸元"]
[null,"設計浸透能(m3/hr)",null,{"$f":"Q59","v":0}]
[null,"平均設計水頭(m)",null,{"$f":"IF(D57>0,+R59,0)","v":0}]
[null,"設計空隙貯留量(m3)",null,{"$f":"S59","v":0},null,null,null,null,null,null,null,null,null,null,"総合計",{"$f":"P61+P62","v":0},{"$f":"Q61+Q62","v":0},{"$f":"P59/Q59","v":{"$error":"#DIV/0!"}},{"$f":"S61+S62","v":0}]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"マス",{"$f":"SUM(P31:P40)","v":0},{"$f":"SUM(Q31:Q40)","v":0},{"$f":"P61/Q61","v":{"$error":"#DIV/0!"}},{"$f":"SUM(S31:S40)","v":0}]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"トレンチ",{"$f":"SUM(P45:P54)","v":0},{"$f":"SUM(Q45:Q54)","v":0},{"$f":"P62/Q62","v":{"$error":"#DIV/0!"}},{"$f":"SUM(S45:S54)","v":0}]

{"sheet":"３．流出抑制施設諸元（調整池諸元）","index":17,"n_rows":13,"n_cols":5,"rows_kept":13,"cut":false,"hidden":true,"merged":[[5,1,5,2],[6,1,9,1],[10,1,10,2]]}
[]
["３．流出抑制施設諸元"]
[null,"　（※流出抑制施設の配置位置（平面図）、構造諸元のわかる図面を添付すること）"]
[null,"調整池諸元"]
[null,"放流口径（2段オリフィスの場合は、上・下段の雨諸元を記載）"]
[null,null,null,"下段","上段（２段オリフィスの場合）"]
[null,"放流口形状","形状"]
[null,null,"直径"]
[null,null,"高さ"]
[null,null,"幅"]
[null,"管底位置（池底から）"]
[]
[null,"Ｈ","Ｖ"]

{"sheet":"３．流出抑制施設諸元（調整池諸元_ポンプ排水）","index":18,"n_rows":6,"n_cols":6,"rows_kept":6,"cut":false,"hidden":true,"merged":[]}
[]
["３．流出抑制施設諸元（ポンプ排水）"]
[null,"　（※流出抑制施設の配置位置（平面図）、構造諸元のわかる図面を添付すること）"]
[]
[null,"調整池諸元",null,null,"ポンプ諸元"]
[null,"Ｈ","Ｖ",null,"Ｈ","Q"]

{"sheet":"３．流出抑制施設諸元 （調節計算結果）","index":19,"n_rows":5,"n_cols":16,"rows_kept":5,"cut":false,"hidden":true,"merged":[]}
[]
["３．流出抑制施設諸元",null,null,null,null,null,null,null,null,null,"時刻","行為後流入量","浸透考慮後流入量","許容放流量","調節後放流量","調整池水位"]
["調節計算結果"]
[null,"最大流入量（行為後）",null,"m3/s"]
[null,"最大放流量",null,"m3/s","＜","許容放流量",null,"m3/s"]